Evaluation - Consideration of the NEA’s requirements

Activity 1 - The primary and secondary requirements of the building

You will need to consider the primary requirements of your NEA building and the components that will be used to construct the superstructure of the building.   In addition, you should consider the secondary requirements for the building and the common construction methods used for doors, windows, internal walls, staircases, and internal finishes.

Example

Enter a description of the primary and secondary requirements for the building required from your NEA brief.

[INPUT: Textbox OUTPUT:  Form……]

Activity 2 – Requirements for working with buildings from different periods.

Your NEA brief may include working with building from different periods of time and may include historic and listed buildings that require conservation, sustainable care, appropriate renewal, or conversion.

Conservation may involve renovation, restoration, or refurbishment.

Renovation – the process of improving or modernising an old, damaged, or defective building.

Refurbishment – the process of improvement by cleaning, decorating and re-equipping.

Restoration – repair involving a high level of authenticity, replicating materials and techniques as closely as possible.

Conservation skills and workmanship may involve the following materials:

- wood – use of traditional methods, craft skills, carving and materials to conserve, repair, or replace timbers that have decayed or been damaged.

- masonry – refurbishment and repair, including fixing, carving, pointing, grouting, cleaning, stone sourcing and matching.

- plasterwork – plaster matching and repair carried out in the correct material, including pure lime plasters and renders, solid run and fibrous work, free hand modelling, pattern and mould making, pargetting and other specialist finishes

- brickwork – matching existing building materials, such as reproduction bricks and terracotta, and carrying out works including structural repair, anchoring, tying, pointing and grouting to ensure the integrity and aesthetic of the building is maintained.

- ferrous and non-ferrous metals – including specialist leadwork in sheeting and flashings and replacement of cast iron, wrought iron and brass features.

Example

In the NEA brief for the new medical centre the design of the new extension must reflect the heritage of the existing building and the conversion of the existing building must retain its character.

Enter a description of the requirements for working with building from different periods if this is required by your NEA brief.

[INPUT: Textbox OUTPUT:  Form……]

Activity 3 – Contemporary construction methods for substructures and superstructures

You may also need to consider the flowing, depending on your design and methods of construction:

- structural foundations

- retaining walls

- basements

- ground bearing floors – reinforced concrete slabs, with power float or screed finish and incorporating insulation and damp-proof membrane.

Structural foundations, designed to suit ground conditions and to transfer building loads to the supporting ground foundation:

- strip footings and trench fill concrete foundations

- raft and pad foundations

- load bearing piles, friction piles and ground compactor piles.

- Ground bearing floors.

Ground bearing floors – reinforced concrete slabs, with power float or screed finish and incorporating insulation and damp-proof membrane.

Basements, below ground level accommodation constructed using tanked floor slab and retaining walls.

Retaining walls, designed to resist pressure from retained ground and hydrostatic forces, including sheet piles, reinforced masonry/concrete walls, and gabions.

Superstructures

Contemporary construction methods for superstructures include:

      - structural walls

      - frames

      - traditional external cladding

      - contemporary external cladding

      - intermediate floors

      - vertical circulation

      - roofs – traditional structures

      - roofs – alternative structures.

Contemporary external cladding – including structural insulated panels (SIPs), glazed curtain walling systems and composite cladding panels

Traditional external cladding – brick, stone, rendered blockwork, tile hanging, brick slips, timber boarding and profiled steel sheeting on secondary steel rails

Frames – skeleton frames and portal frames constructed in standard or laminated timber, steel, and reinforced concrete, both precast and in situ

Structural walls – solid masonry and cavity constructions, dense concrete blocks, insulating blocks and reinforced concrete cast in situ

Roofs – alternative structures, vaults, domes, shell constructions and green roofs.

Roofs – traditional flat and pitched roof constructions, including roof joists, rafter and purlin, trussed rafter, secondary structures between frames, insulations and finishes

Vertical circulation – timber and concrete staircases, trimming of stairwells, construction of shafts for lifts, escalators, and services within primary structures

Intermediate floors – timber joist, beam and block, reinforced concrete both precast and in situ

Example

Enter a description of the requirements for substructures and superstructures for your NEA task.

[INPUT: Textbox OUTPUT:  Form……]

Activity 4 – Sustainable construction methods, techniques, and considerations

You will need to consider the main components of sustainable construction methods:

- Reuse of materials or components in situ

- Use of reclaimed materials or components

- Use of materials manufactured with recycled content

- Use of natural materials.

- Use of materials less damaging to the environment.

Other sustainable considerations include:

- Sourcing materials locally

- Improving energy efficiency

- Reduction of water usage

Example

For the NEA brief for the new medical centre, it is important that the character and heritage features of the existing house are retained and that the design of the extension is in keeping with the existing building.

Enter a description of the requirements for sustainability for your NEA task.

[INPUT: Textbox OUTPUT:  Form……]

Activity 5 – Water and wastewater systems, Landscape design and site design.

Water and wastewater systems design and construction.

You need to consider different water and wastewater systems:

- Rainwater and wastewater removal

- Rainwater harvesting

- Sustainable drainage systems (SuDS).

Landscape design – involves the composition, layout and specification of trees, other planting and hard landscaping feature.

Site design – involves the layout and specification of vehicular and pedestrian access routes.

Example

For the proposed new medical centre, the required water systems are not likely to extensive as they would be in, for example, a large factory.  However, the use of a SuDS approach to harvest rainwater should reduce water use and avoid peak flows from entering the public system.

Enter a description of the requirements for handling water and wastewater, landscaping, and site layout for your NEA task.

[INPUT: Textbox OUTPUT:  Form……]

Generated text.