12. Building services engineering (BSE) systems

# Worksheet 14: Cables and equipment in older electrical installations (learner)

- Name two different types of cable sheathing which are no longer used.

- Why is lead sheathed cable no longer used?

- You are involved in refurbishing an old heritage property. What types of fuses might you find in the consumer unit?

- You attend a house with a plastic clad consumer unit. Explain to the customer why this is now considered substandard.