12. Building services engineering (BSE) systems

# Worksheet 15: Electrical supply (learner)

- Complete the table below to match the correct voltage (230 or 400V) to the BSE component.

| BSE component | Voltage |
| --- | --- |
| Domestic heating pump |  |
| Industrial booster pump |  |
| LED lighting |  |
| Domestic heating controls |  |
| Commercial fan |  |
| Industrial chiller |  |
| Fluorescent lighting |  |
| Hot water heater |  |

- How is electricity distributed in domestic dwellings?

- In larger buildings, how is electricity distributed?