12. Building services engineering (BSE) systems

# Worksheet 5: Y- and S-plan systems (learner)

- Note down the key elements of a Y-plan and an S-plan fully pumped heating system.

| Y-plan | S-plan |
| --- | --- |

- Which type of system is shown below – a Y- or an S-plan?

- Answer the following questions about the magnetic system filter.

- What is the purpose of a magnetic system filter?

- Where in the system should it be positioned?

- The filter chamber can be removed and cleaned without draining the system. True or false?