12. Building services engineering (BSE) systems

# Worksheet 6: Heating systems quiz (learner)

- Which type of boiler is best suited to a small single dwelling with one kitchen and one bathroom?

- Which type of heating system is the most common in industrial and commercial environments?

- What is the main feature of a two-pipe reverse return system?

- Briefly describe the features and function of a low loss header system.

- Name two advantages of having several smaller boilers in a large plant room.

- List four types of heat emitter and explain where they are used.