12. Building services engineering (BSE) systems

# Multiple choice questions (tutor)

|  |  |  |
| --- | --- | --- |
| 1. | Why is copper tube ideal for hydronic systems? | |
| a. | It is very strong |
| b. | It comes in a wide range of sizes |
| **c.** | **It has a very smooth internal surface** |
| d. | It is easy to bend |

|  |  |  |
| --- | --- | --- |
| 2. | The cold water service pipe to a building must be buried underground to a minimum recommended depth of: | |
| **a.** | **750mm** |
| b. | 900mm |
| c. | 650mm |
| d. | 700mm |

|  |  |  |
| --- | --- | --- |
| 3. | The conductor intended to protect electrical installations is referred to as the: | |
| a. | Switched live conductor |
| b. | Phase conductor |
| c. | Neutral conductor |
| **d.** | **Circuit protective conductor** |

|  |  |  |
| --- | --- | --- |
| 4. | Rigid ductwork is made from: | |
| a. | Aluminium |
| b. | Plastic |
| **c.** | **Low carbon steel** |
| d. | Copper |

|  |  |  |
| --- | --- | --- |
| 5. | The gas supply to a building is controlled by a device referred to as a: | |
| a. | Gas cock |
| **b.** | **Service control valve** |
| c. | Main gas cock |
| d. | Gate valve |

|  |  |  |
| --- | --- | --- |
| 6. | In an AC system, what is the maximum percentage of extracted air that can be recirculated? | |
| a. | 70% |
| **b.** | **25%** |
| c. | 100% |
| d. | 15% |

|  |  |  |
| --- | --- | --- |
| 7. | Fittings used to joint plastic pipe are push-fit and incorporate a: | |
| a. | ‘D’ ring and grab ring |
| b. | Friction ring washer |
| **c.** | **‘O’ ring and grab ring** |
| d. | Compression ring |

|  |  |  |
| --- | --- | --- |
| 8. | The output of most alternators is: | |
| a. | 30,000V (30kV) |
| b. | 2,300V (25kV) |
| c. | Not measured |
| **d.** | **25,000V (25kV)** |

|  |  |  |
| --- | --- | --- |
| 9. | Pipeline components that are used to control the flow of fluids are referred to as: | |
| a. | Restrictors |
| b. | Compressors |
| **c.** | **Valves** |
| d. | Impeders |

|  |  |  |
| --- | --- | --- |
| 10. | Which is the most commonly used pipework system in commercial heating installations? | |
| a. | One pipe |
| b. | Three pipe |
| c. | Four pipe |
| **d.** | **Two pipe** |

|  |  |  |
| --- | --- | --- |
| 11. | Which component in an AC plant is used to dehumidify the supply air? | |
| a. | Pre-heating coil |
| b. | Air washer |
| **c.** | **Cooling coil** |
| d. | Steam injector |

|  |  |  |
| --- | --- | --- |
| 12. | The operating pressure of a gas appliance is set and maintained by a device known as a: | |
| a. | Service governor |
| b. | Pressure reducing valve |
| c. | Relay valve |
| **d.** | **Constant pressure governor** |

|  |  |  |
| --- | --- | --- |
| 13. | What component is crucial for a compensated heating system to function correctly? | |
| **a.** | **Three-port mixing valve** |
| b. | Three-port diverting valve |
| c. | Two-port on/off valve |
| d. | Double regulating valve |

|  |  |  |
| --- | --- | --- |
| 14. | The neutral conductor in fixed cable installations is identifiable by the insulation being coloured: | |
| **a.** | **Blue** |
| b. | Brown |
| c. | Yellow and green |
| d. | Red |

|  |  |  |
| --- | --- | --- |
| 15. | Unvented hot water storage cylinders are supplied as a complete unit containing all the: | |
| a. | Usual connections for pipes |
| **b.** | **Mandatory safety devices** |
| c. | Necessary BS numbers |
| d. | Fixing instructions |

|  |  |  |
| --- | --- | --- |
| 16. | In a sealed heating system an important safety device which prevents excessive force within is called: | |
| a. | An open-vent pipe |
| b. | An automatic air vent |
| c. | An expansion vessel |
| **d.** | **A pressure relief valve** |

|  |  |  |
| --- | --- | --- |
| 17. | Which component in a vapour refrigeration system increases the pressure of the refrigerant? | |
| a. | Expansion valve |
| b. | Evaporator |
| c. | Condenser |
| **d.** | **Compressor** |
| 18. | An operational technology network is more commonly known as: | |
| a. | Wi-fi |
| b. | **A building energy management system (BEM)** |
| c. | A virtual private network (VPN) |
| d. | A wide area network (WAN) |

|  |  |  |
| --- | --- | --- |
| 19. | When a building is naturally ventilated by cooler external air displacing warmer internal air, this is referred to as the: | |
| a. | Wind effect |
| b. | Suction effect |
| **c.** | **Stack effect** |
| d. | Dynamic effect |
| 20. | Which of the following is not a type of earthing arrangement? | |
| a. | TN-S |
| b. | TN-C-S |
| **c.** | **TN-SC** |
| d. | TT |