12. Building services engineering (BSE) systems

# Worksheet 15: Electrical supply (tutor)

- Complete the table below to match the correct voltage (230 or 400V) to the BSE component.

| BSE component | Voltage |
| --- | --- |
| Domestic heating pump | 230V |
| Industrial booster pump | 400V |
| LED lighting | 230V transformed and rectified to 12V DC |
| Domestic heating controls | 230V |
| Commercial fan | 400V |
| Industrial chiller | 400V |
| Fluorescent lighting | 230V |
| Hot water heater | 230V |

- How is electricity distributed in domestic dwellings?

With a domestic single-phase consumer unit.

- In larger buildings, how is electricity distributed?

Via a three-phase distribution board.