12: Building services engineering (BSE) systems

# Worksheet 2: Electrotechnical systems (tutor)

- Name three types of renewable power generation.

Wind, photovoltaic, hydroelectric.

- What voltage is necessary for transmission through the National Grid system?

13kV

- Briefly describe how a UPS works. Your answer should include what circumstances it comes into effect, how long it can run for, and in which environments it is commonly used.

A UPS provides emergency backup power instantaneously when the main power source fails or if the voltage drops to an insufficient level or surges and causes an outage.

UPS allows additional run time of 15 minutes or longer depending on battery size.

UPS can protect data centres, operating machinery, lighting, IT systems and electrical equipment.

- Why are sodium vapour lights used for street lamps?

Sodium vapour lights have high efficiency and emit light that penetrates mist and fog well.

- You need to replace an old 100W filament lamp. What would you replace it with?

Typically, a 100W filament lamp would be replaced by a 5W LED.

- Briefly describe how an electric storage heater works.

By utilising off-peak electricity, the casing is filled with concrete blocks which have heating elements within them. These are heated throughout the night and emit heat during the day.