# 13. Maintenance principles

# Worksheet 1: Types of maintenance task (learner)

Are the maintenance tasks detailed below planned or reactive maintenance?

| Repairing a leaking pipe |  |
| --- | --- |
| Servicing a gas boiler |  |
| Checking the pin and tamper seal on a fire extinguisher |  |
| Replacing a pump on a broken air conditioning unit |  |
| Unblocking a gutter that is overflowing |  |
| Re-washering a dripping tap |  |
| Portable appliance testing (PAT) a hammer drill |  |
| Replacing a blown fuse on a gas boiler printed circuit board (PCB) |  |
| Adjusting the temperature on an air conditioning unit |  |
| Testing the water levels in a WC cistern |  |