# 13. Maintenance principles

# Worksheet 1: Types of maintenance task (tutor)

Are the maintenance tasks detailed below planned or reactive maintenance?

| Repairing a leaking pipe | Reactive |
| --- | --- |
| Servicing a gas boiler | Planned |
| Checking the pin and tamper seal on a fire extinguisher | Planned |
| Replacing a pump on a broken air conditioning unit | Reactive |
| Unblocking a gutter that is overflowing | Reactive |
| Re-washering a dripping tap | Reactive |
| Portable appliance testing (PAT) a hammer drill | Planned |
| Replacing a blown fuse on a gas boiler printed circuit board (PCB) | Reactive |
| Adjusting the temperature on an air conditioning unit | Reactive |
| Testing the water levels in a WC cistern | Planned |