| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 2 K1.2 Fluids – Disposal of recovered fluids (oil, ammonia water, secondary refrigerants)

Questions

Use density of water = 1.0 kg/L unless told otherwise.

1) Waste oil: 135 L used compressor oil (assume hazardous).
   a) 25 L UN drums required?
   b) Charges £18 per drum uplift + £0.22/L treatment → total cost?
   c) Two duty‑of‑care checks and which paperwork applies?

2) Ammonia‑contaminated water: 230 L.
   a) 30 L UN drums required?
   b) Mass estimate (kg)?
   c) Why not drain without consent?

3) Secondary refrigerant (glycol): 420 L to replace; IBCs can be filled to max 950 L.
   a) IBCs needed?
   b) Treatment charge £0.38/L → cost?

Extension

Packaging choice for 480 L:

Option A (30 L drums £5/drum + £0.35/L) OR

Option B (IBC hire £40 + £0.30/L).

Which is cheaper and by how much?