| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 3: Troubleshooting & Diagnostics

K1.1 The function and operation of air conditioning systems

- A fan coil unit is not providing cooling.
List at least five possible causes and outline diagnostic steps.

- A VRF indoor unit shows fluctuating supply-air temperatures.

  - Identify likely system issues.

  - Explain what measurements they would take (e.g., refrigerant pressures, thermistor readings).

- An AHU coil is frosting.
Identify potential root causes and propose corrective actions.