| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 4: Refurbishing an HVAC system

K1.1 The function and operation of air conditioning systems

- Scenario

You are tasked with refurbishing the HVAC system in a medium-size office building.

Choose between VRF, DX, or a chilled-water system.

Justify your selection based on:

  - Building layout

  - Energy efficiency

  - Maintenance

  - Installation complexity

  - Zoning needs

2. Given performance data, determine which type of heat pump (air, ground, or water source) is most suitable for a school building and explain the reasoning.