| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Heat Pump Basics (Starter)

K1.10 Heat pumps | System maintenance

What you will do

Recall key components of a vapour-compression system.

Explain where heat is absorbed and where it is delivered in heating mode.

Use key terms correctly: evaporator, condenser, compressor, expansion device, superheat, subcool.

Instructions (10–15 minutes)

Work in pairs.

Answer the questions below in your own words.

Be ready to share one answer with the class.

Questions

1) Name the four main components of a vapour-compression heat pump cycle.

2) In heating mode, which heat exchanger gives useful heat to the building? Explain in one sentence.

3) In heating mode, where does the system absorb low-grade heat from the environment?

4) Define superheat (what does it compare?)

5) Define subcool (what does it compare?)

6) Why does a heat pump need electrical energy even though it “moves” heat?

Extension task (optional)

Explain what “temperature lift” means and why a bigger temperature lift usually reduces COP.