| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 3: COP from Enthalpy (Worked Calculations)

Key formulae

Heating COP (COPₕ) = Qout / Win

On a p–h chart (per kg of refrigerant):

Qout ≈ h2 − h3 (condenser heat delivered)

Win ≈ h2 − h1 (compressor work input)

So: COPₕ ≈ (h2 − h3) / (h2 − h1)

Instructions (20–25 minutes)

- Work individually first, then check answers with a partner.

- Show your workings.

- Round COP to 2 decimal places.

Questions

Question 1 Given h1 = 410 kJ/kg, h2 = 460 kJ/kg, h3 = 260 kJ/kg.

a) Calculate Qout (h2 − h3) = __________ kJ/kg

b) Calculate Win (h2 − h1) = __________ kJ/kg

c) Calculate COPₕ = Qout / Win = __________

Question 2: Given h1 = 395 kJ/kg, h2 = 455 kJ/kg, h3 = 275 kJ/kg.

a) Calculate Qout (h2 − h3) = __________ kJ/kg

b) Calculate Win (h2 − h1) = __________ kJ/kg

c) Calculate COPₕ = Qout / Win = __________

Question 3: Given h1 = 420 kJ/kg, h2 = 470 kJ/kg, h3 = 290 kJ/kg.

a) Calculate Qout (h2 − h3) = __________ kJ/kg

b) Calculate Win (h2 − h1) = __________ kJ/kg

c) Calculate COPₕ = Qout / Win = __________

Thinking question (maintenance + performance)

A dirty outdoor coil increases the temperature lift. Explain how this could change h2 − h1 and what happens to COP as a result.

Extension (challenge)

If the compressor power input is 2.5 kW and COPₕ is 3.2, what is the heat output to the building (kW)?