| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Preparing for Commissioning & Steady‑State Checks

What you will do

Scenario

You are supporting an engineer to commission a newly installed split air‑conditioning system. Before any measurements are taken, you must plan what data to collect, where to measure it, and how to confirm the system is at steady‑state.

A) Pre‑commissioning safety & readiness checklist (tick when complete)

I can describe the main hazards (electric shock, rotating fans, hot surfaces, pressurised refrigerant).

I know what PPE is required for routine commissioning measurements.

I can explain why refrigerant must not be vented and what recovery equipment is for.

I can identify where the indoor and outdoor unit air inlets/outlets are.

I can identify where pressure test points/service ports are (if present) and why caps must be refitted.

B) Plan your measurement locations

On the sketch below, label where you would measure each item. (Use arrows/notes.)

• Ambient temperature  • Room temperature  • Indoor air on/off  • Outdoor air on/off (if required)

• Suction pressure  • Discharge pressure  • Suction line temperature  • Liquid line temperature  • Running current

(Attach your labelled sketch here)

C) Steady‑state & recording conditions

1. Define “steady‑state operation” in your own words.

2. List THREE signs that the system is not yet at steady‑state.

3. Explain why recording data too early could lead to wrong commissioning decisions.

4. What operating conditions must you write down alongside your readings (e.g., mode, set point, fan speed)?

Extension (optional)

In one paragraph, explain how good commissioning improves energy efficiency and comfort.