| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 2: Commissioning mini-task (pre-filled)

Purpose

During commissioning you record suction and discharge pressures. To calculate superheat and subcooling, you must convert pressures into saturation temperatures using PT data for the correct refrigerant.

Instructions

Use the PT table/app provided by your tutor for the stated refrigerant. Fill in the missing Tsat values.

Important: use the correct units and state whether the pressure is gauge or absolute if your PT source requires it.

A) PT conversion table (complete Tsat values)

| Case | Refrigerant | Suction pressure | Tsat @ suction (°C) | Discharge pressure | Tsat @ discharge (°C) |
| --- | --- | --- | --- | --- | --- |
| 1 | Tutor-specified | 6.0 bar(g) |  | 19 bar(g) |  |
| 2 | Tutor-specified | 7.2 bar(g) |  | 24 bar(g) |  |
| 3 | Tutor-specified | 5.5 bar(g) |  | 21 bar(g) |  |
| 4 | Tutor-specified | 8.0 bar(g) |  | 26 bar(g) |  |

B) Understanding checks

1. Why must you use the correct refrigerant when converting pressure to Tsat?

2. Give TWO reasons why a pressure reading might be misleading if you do not record operating conditions.

3. Explain the difference between gauge pressure and absolute pressure (one sentence each).

Practical mini-task (in pairs)

Your tutor will demonstrate a pressure probe/manifold. Identify where the low and high-side connections go and explain why service port caps must be refitted after testing.