| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 6: Commissioning Heat Pumps

Part 1: Leak testing plan

Write a step-by-step plan for how you would check for leaks during commissioning.

Include: visual inspection, high-risk points, direct methods (detector/bubbles), and what you would record.

Steps:

1) ________________________________________________________________

2) ________________________________________________________________

3) ________________________________________________________________

4) ________________________________________________________________

5) ________________________________________________________________

6) ________________________________________________________________

7) ________________________________________________________________

Part 2: What must be recorded? (tick all that apply)

Type of refrigerant and total quantity added/removed (kg)

Leak test method used (e.g., detector, bubbles, OFN pressure test)

Leak test result and any repairs made

Final control settings and set points at handover

Indoor/outdoor air on/off temperatures for each unit

Pressures and converted saturation temperatures (Tsat)

Running current at full load and near set point

Part 3: End-user controls test (practical checklist)

| Control/function | Pass / Fail / Notes |
| --- | --- |
| On/Off works and unit responds correctly |  |
| Mode changes (cool/heat/auto/fan) operate as expected |  |
| Set point changes produce a sensible response |  |
| Fan speed changes work (auto/low/med/high) |  |
| Timers/schedules (if fitted) operate correctly |  |
| Any lockouts/limits are explained (if fitted) |  |
| Fault/alarm indications are understood (what user sees) |  |
| Any integrated controls (e.g., BMS/remote sensor) are tested |  |

Part 4: Short questions

1. Explain how leaks affect energy efficiency (two sentences).

2. Why should the engineer record refrigerant added beyond the base charge?

3. What information would you give the user during handover to help them operate the system efficiently?