| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Inspection Routine & Safety Boundaries

Scenario

You are about to inspect an air‑conditioning system during commissioning. Your aim is to spot abnormal operation, unexpected operational noise and any unsafe conditions.

A) Safety boundaries (tick when you can explain each point)

| Tick | Statement |
| --- | --- |
| ☐ | Why you must keep clear of moving fans/guards and never bypass safety devices. |
| ☐ | Why you must not touch electrical terminations or open electrical panels unless authorised/competent. |
| ☐ | Why hot surfaces should be assumed and checked safely. |
| ☐ | Stop/escalate triggers (burning smell, smoke, severe vibration, grinding contact). |
| ☐ | Why you must record evidence before cleaning/wiping anything (e.g., oil staining). |

B) Put the inspection steps in order

Write the numbers 1–7 to show the best order for a repeatable inspection routine:

___ Record evidence (what/where/when, photos, notes).

___ Make safe (follow procedures; isolate where required).

___ Decide action (monitor / fix / escalate).

___ Listen (hearing): noise patterns and changes.

___ Smell: burning/overheating/oil odours (treat seriously).

___ Observe (sight): leaks, wiring, loose panels, rub marks.

___ Feel (touch) carefully: vibration/temperature (no terminals/moving parts).

C) Short questions

1. What is the difference between a “clue” and a “confirmed fault” during inspection?

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

2. Give three examples of evidence you could record during inspection.

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

3. Why should you write down operating conditions (mode, fan speed, load) with your observations?

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________