| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 4: Vibration, Loose Panels, and High Temperatures (Practical Checks)

A) Vibration mapping (practical)

Your tutor will demonstrate vibration using a safe prop (e.g., a small vibrating device on a panel) or a video. Your job is to map where vibration is strongest and suggest likely causes.

Vibration mapping table

| Location where vibration is strongest | What might be causing it? | What would you check first? | What evidence would you record? |
| --- | --- | --- | --- |

B) High temperature clues

For each clue, write one likely cause and one safe next step.

Temperature clues table

| Clue | Likely cause (brief) | Safe next step |
| --- | --- | --- |
| Motor housing unusually hot |  |  |
| Cable insulation discoloured/brittle |  |  |
| Compressor area very hot + strong smell |  |  |
| Airflow appears blocked/restricted |  |  |

C) Loose panel “rattle test” (discussion)

1. How could gently pressing a panel (only if safe) help locate a rattle?

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

2. List two reasons loose panels can be a safety issue, not just a noise issue.

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________