| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 3 – Demonstrate Removal of Stale or Harmful Air

K1.2 Air conditioning and ventilation in a modern economy

Scenario:

Witness how ventilation systems remove polluted air and replace it with fresh air.

- Block the fresh-air intake (partially)

Observe changes in:

CO₂ levels

Humidity

Smell/stale feeling

Explain why a fresh-air supply matters.

- Open the fresh-air intake

Record improvements in readings

Compare before/after data

- Trace the path of stale air

Learners physically follow ductwork from:

Extract grille → duct → fan → outside discharge

Draw a diagram of the ductwork and components, illustrating the path of stale air.