| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 4 – Filter Condition and Pollution Removal

K1.2 Air conditioning and ventilation in a modern economy

Scenario:

Investigate how filters help improve air quality.

- Examine clean vs. dirty filters

- Identify what each filter type removes (dust, pollen, smoke, VOCs)

- Fit a filter correctly into an AC training unit

- Record airflow before and after filter change using an anemometer

- Discuss how blocked filters reduce:

- Fresh-air intake

- Cooling performance

- Air quality