| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 6: Improving Ventilation

K1.2 Air conditioning and ventilation in a modern economy

Objective:

Learners will measure ventilation performance and identify stale-air removal.

Equipment:

- Anemometer

- Smoke pen or smoke tube

- CO₂ meter (if available)

- Humidity & temperature

- PPE