| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Sustainability in Air Conditioning

Understanding Sustainability

- Explain why sustainability is important in air conditioning systems.

- List three UK regulations or policies that influence sustainable AC design.

- Describe two ways air conditioning contributes to greenhouse gas emissions.

Reducing Heat Gain

Match the method to its purpose:

Method		Purpose

A. Insulation		1. Reduces solar radiation entering the building

B. Solar shading	2. Reduces heat transfer through building fabric

C. Low E glazing		3. Reduces heat loss/gain through windows

Write your answers as A–1, B–2 etc.

Explain why minimising air leakage improves energy efficiency.

Short Task

Choose a building type (school, shop, office). Identify two sustainability challenges and suggest one AC related solution for each.