| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Identify and Compare AC Systems

K1.2 Air conditioning and ventilation in a modern economy

Task A: Inspect a wall-mounted AC unit

Scenario:

Physically inspect two different AC systems and identify whether each is for comfort cooling or process cooling.

Instructions:

- Remove and examine the air filter

- Record the condition

- Measure supply-air temperature

- Identify if the unit is comfort or process cooling

- Explain whether it is designed for people, for machinery, or for both

Evidence learners produce:

✔ Temperature readings

✔ Sketch showing main components

✔ Written explanation: comfort vs. process cooling

✔ Photo of the filter condition (optional)

Task B: Inspect a process cooling system (training chiller or server-room unit)

- Identify key components

- Measure the outlet temperature of the cooling loop (water or air)

- Note control settings

- Compare cooling precision vs. comfort AC

✔ Temperature readings

✔ Sketch showing main components

✔ Written comparison: comfort vs. process cooling