| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Practical Air -Quality & Comfort Audit 

K1.4 Air Quality & Human Comfort

Tutor guidance

## Expected Learner Outputs

DBT and RH readings or realistic estimates.

At least one ventilation/IAQ issue identified.

Two justified HVAC/maintenance recommendations.

## Practical Marking Rubric (5 Marks)

| Criteria | Marks | What You’re Looking For |
| --- | --- | --- |
| DBT & RH identified (measured or estimated) | 1 | Values within realistic range; correctly interpreted |
| CO₂ / ventilation cues interpreted | 1 | Evidence of stuffiness, lack of airflow, or monitor indication |
| IAQ/comfort issue identified | 1 | E.g. dry air, high humidity, poor airflow, hot/cold spots |
| Improvement 1 | 1 | Realistic, directly addresses an identified issue |
| Improvement 2 | 1 | As above, with clear justification |

Suggested Pass: 3/5 (adjust to centre policy).

## Tutor Notes

Safety first—no opening panels or accessing plant; focus on observation.

If instruments are unavailable, provide case readings for DBT and RH.

Use a whole‑class debrief to compare findings and discuss the most effective improvements.

## Debrief Prompts

What was the most common comfort/IAQ issue found?

Which recommendation would have the biggest impact and why?

How does this link back to K1.4 (temperature, humidity, CO/CO₂, metabolism)?