| Learner name: |  | Class: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |

Task 1: Sustainability in Air Conditioning

Understanding Sustainability

- Explain why sustainability is important in air conditioning systems.

- List three UK regulations or policies that influence sustainable AC design.

- Describe two ways air conditioning contributes to greenhouse gas emissions.

Reducing Heat Gain

Match the method to its purpose:

Method		Purpose

A. Insulation		1. Reduces solar radiation entering the building

B. Solar shading	2. Reduces heat transfer through building fabric

C. Low E glazing		3. Reduces heat loss/gain through windows

Write your answers as A–1, B–2 etc.

Explain why minimising air leakage improves energy efficiency.

Short Task

Choose a building type (school, shop, office). Identify two sustainability challenges and suggest one AC related solution for each.

Tutor guidance

Understanding Sustainability

1. AC systems use large amounts of electricity, contribute to carbon emissions, and often use refrigerants with high GWP.

2. Part L (energy efficiency), FGas Regulation, UK Net Zero Strategy.

3. High electricity consumption (indirect emissions) and refrigerant leakage (direct emissions).

Reducing Heat Gain

A–2

B–1

C–3

Air leakage 
Increases unwanted heat gain/loss, forcing the AC system to work harder.

Short Task

Answers will vary but should link building type → challenge → AC solution (e.g. school → high occupancy → demand controlled ventilation).