Gas Engineering

# Sample scheme of work

This sample scheme of work covers classroom-based learning for the Occupational Specialism Gas Engineering. It is based on the PowerPoint sessions that have been developed. It does not cover every GLH for the qualification.

It is an example of a possible scheme of work and is based on theory and practical activities within a training centre. However, it can be amended to suit all learning facilities with the necessary adjustments to meet individual learners’ needs.

You can use the sample scheme of work as it is, adjust it or extract content to create a scheme of work to suit your delivery needs. It can also be adjusted by adding workshops to support learners who have/need additional learning time. Activity sessions have been allowed for in this scheme of work for classroom demonstrations, presentation of video material, guest lectures, revision or other learning activities at the tutor’s discretion.

It is important that tutors look for ways to build or embed Behaviours within periods of learning, as well as the Skills and Knowledge required by the qualification.

The scheme of work refers to PowerPoint presentations and tasks in the Skills Practice Workbook for Learners (in black bold) that are available in this package of resources for tutors to use with learners. Any other resources listed provide guidance for the tutor as to others they may produce. Delivery timings are given; however, these can be amended to suit the group.

Please clarify to learners that the tasks in the Learner workbook are designed to support their understanding of the content. They are not intended to reflect the final assessment.

Gas Engineering

# Sample scheme of work

Course/qualification: T Level Technical Qualification in Building Services Engineering for Construction

Tutor’s name:

Number of sessions: 74		Venue:				Group:

Learning Outcomes - Health and Safety (K1.1 – K1.3) - Tools, Equipment and Materials (K1.4 – K1.5) - Gas Systems (K1.6 – K1.15) - Gas Engineering Science (K1.16) - Pipework Technology (K1.17 – K1.19) - Legislation and Industry Guidance (K1.20) - Building Technology (K1.21) - System Installation (K1.22) - System Commissioning (K1.23 – K1.26) - System Maintenance (K1.27 – K1.28) - Decommissioning (K1.29 – K1.30)

| Session | Content area | Knowledge Outcome | Activities and resources |
| --- | --- | --- | --- |
| 1 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activities: - Tutor to support delivery of: Mini poster: asbestos types ‘Can you spot it?’ HSE image task - Resource: - PowerPoint: K1.1 PPT 1.1a Asbestos |
| 2 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activities: Case study analysis Label ignition points on appliance photo ‘What went wrong?’ video reflection Complete explosion risk mini RA - Resource: - PowerPoint: K1.1 PPT 1.1b Explosions |
| 3 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activities: Group poster: symptoms of CO Face-fit mask handling - Resource: - PowerPoint: K1.1 PPT 1.1c Carbon Monoxide Poisoning |
| 4 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activity: Identify hazards in workplace photos - Resource: - PowerPoint: K1.1 PPT 1.1d Slips and Trips |
| 5 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activities: Live lifting technique demonstration Peer assess lifting form - Resource: - PowerPoint: K1.1 PPT 1.1e Manual Handling |
| 6 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activities: Ladder inspection checklist Quiz: safe ladder angle - Resource: - PowerPoint: K1.1 PPT 1.1f Working at Height |
| 7 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activity: Explain the process of dealing with a burn - Resource: - PowerPoint: K1.1 PPT 1.1g Burns |
| 8 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activity: Identify poor dust control practices in photos - Resource: - PowerPoint: K1.1 PPT 1.1h Dust |
| 9 3 hours | Health and Safety (K1.1 – K1.3) | K1.1 Typical hazards and risks associated with working with gas systems and how these can be mitigated. | - Activities: Toolbox ID: which need testing/earthing? Isolation procedure sequencing Simulate switching off appliance feed - Resource: - PowerPoint: K1.1 PPT 1.1i Electrocution |
| 10 3 hours | Health and Safety (K1.1 – K1.3) | K1.2 Safe working practices associated with working with gas systems. | - Activities: Mini-site audit (classroom setup) Risk form write-up - Resource: - PowerPoint: K1.2 PPT 1.2 Safe working practices |
| 11 3 hours | Health and Safety (K1.1 – K1.3) | K1.3 Emergency procedures for dealing with unsafe situations. | - Activities: Label AR/ID/NCS examples on checklists Reference IGEM/UP/1B and Gas Safe documentation - Resource: - PowerPoint: K1.3 PPT 1.3a - Legal Reporting and Documentation Requirements |
| 12 3 hours | Health and Safety (K1.1 – K1.3) | K1.3 Emergency procedures for dealing with unsafe situations. | - Activities: Breakdown of emergency types Scenario card: identify the correct emergency response - Resource: - PowerPoint: K1.3 PPT 1.3b - Emergency Actions and Procedures |
| 13 3 hours | Tools, equipment and materials (K1.4 – K1.5) | K1.4 Types of tools and equipment, and materials. | - Activities: Explore tool types and material groupings ID task using photo cards or toolbox props Group task: build a job box for cooker install – what goes in? - Resource: - PowerPoint: K1.4 PPT 1.4 – Tools, equipment and materials |
| 14 3 hours | Tools, equipment and materials (K1.4 – K1.5) | K1.5 Operation and handling requirements of tools, equipment and materials. | - Activities: Review handling checklists Demonstration of tool setup, use, and storage procedures - Resource: - PowerPoint: K1.5 PPT 1.5a - Safe use of gas engineering tools and equipment |
| 15 3 hours | Tools, equipment and materials (K1.4 – K1.5) | K1.5 Operation and handling requirements of tools, equipment and materials. | - Activities: Review handling checklists Demonstration of tool setup, use, and storage procedures - Resource: - PowerPoint: K1.5 PPT 1.5b - Maintenance and calibration of tools and equipment |
| 16 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Compare spec sheets for different appliances - Resource: - PowerPoint: K1.6 PPT 1.6a - Introduction to Gas Components |
| 17 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Mini poster: define a 'suitable' component and show examples - Resource: - PowerPoint: K1.6 PPT 1.6b - Gas Valves, Ratio Controls & Multiblocks |
| 18 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Think-Pair-Share: What makes a component fail? - Resource: - PowerPoint: K1.6 PPT 1.6c - Flame Supervision & Pressure Switches |
| 19 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Compare spec sheets for different appliances - Resource: - PowerPoint: K1.6 PPT 1.6d - Sensor and Logic Components – Thermistors & PCBs |
| 20 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Compare spec sheets for different appliances - Resource: - PowerPoint: K1.6 PPT 1.6e - Fans and Air Movement in Gas Appliances |
| 21 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Compare spec sheets for different appliances - Resource: - PowerPoint: K1.6 PPT 1.6f - Appliance Types and Matching Components |
| 22 3 hours | Gas systems (K1.6 – K1.15) | K1.6 Types of components and their suitability for different appliances and types of gas systems. | - Activities: Categorise system components: control, safety, supply Compare spec sheets for different appliances - Resource: - PowerPoint: K1.6 PPT 1.6g - System Suitability, GIUSP Classification & Troubleshooting |
| 23 3 hours | Gas systems (K1.6 – K1.15) | K1.7 How components operate within a system/appliance and integrate to enable the system to operate effectively | - Activities: Examine system schematics to trace component interaction Annotate appliance flow diagrams - Resource: - PowerPoint: K1.7 PPT 1.7a - Component Functions and System Integration |
| 24 3 hours | Gas systems (K1.6 – K1.15) | K1.7 How components operate within a system/appliance and integrate to enable the system to operate effectively. | - Activities: Examine system schematics to trace component interaction Annotate appliance flow diagrams - Resource: - PowerPoint: K1.7 PPT 1.7b - Component Integration in Real Appliances |
| 25 3 hours | Gas systems (K1.6 – K1.15) | K1.8 Factors that affect the choice and suitability of components included in a system. | - Activities: Compare manufacturer datasheets Group sort: cost, certification, compatibility, durability - Resource: - PowerPoint: K1.8 PPT 1.8a - Location, Gas Type, Appliance and Size |
| 26 3 hours | Gas systems (K1.6 – K1.15) | K1.8 Factors that affect the choice and suitability of components included in a system. | - Activities: Compare manufacturer datasheets Group sort: cost, certification, compatibility, durability - Resource: - PowerPoint: K1.8 PPT 1.8b - Certification, Legislation, Efficiency and Environmental Considerations |
| 27 3 hours | Gas systems (K1.6 – K1.15) | K1.9 Waste and waste products. | - Activities: Engineer’s duties when it comes to waste disposal and best practice Mini-case study: Who is liable? - Resource: - PowerPoint: K1.9 PPT 1.9 - Understand Waste in Gas Systems |
| 28 3 hours | Gas systems (K1.6 – K1.15) | K1.10 Safety devices applicable to gas systems, their characteristics and operation. | - Activity: Describe the correct testing and resetting procedures for each valve - Resource: - PowerPoint: K1.10 PPT 1.10a - ECV, UPSO, OPSO, SSOV |
| 29 3 hours | Gas systems (K1.6 – K1.15) | K1.10 Safety devices applicable to gas systems, their characteristics and operation. | - Activity: Choose the correct detector and placement for different scenarios - Resource: - PowerPoint: K1.10 PPT 1.10b - APS, FSD, CO Detectors |
| 30 3 hours | Gas systems (K1.6 – K1.15) | K1.10 Safety devices applicable to gas systems, their characteristics and operation. | - Activity: Learners to discuss thermostats and low water pressure switches​, and how these devices. protect appliances from thermal and hydraulic faults​ - Resource: - PowerPoint: K1.10 PPT 1.10c - System Monitoring – Thermostats & Low Water Pressure Switches |
| 31 3 hours | Gas systems (K1.6 – K1.15) | K1.10 Safety devices applicable to gas systems, their characteristics and operation. | - Activity: Explain testing and fault diagnosis procedures - Resource: - PowerPoint: K1.10 PPT 1.10d - Testing, Inspection and Replacement Procedures |
| 32 3 hours | Gas systems (K1.6 – K1.15) | K1.11 Gas and the combustion process. | - Activity: List the by-products and signs of complete combustion and incomplete combustion - Resource: - PowerPoint: K1.11 PPT 1.11a - Combustion Chemistry – Complete vs Incomplete |
| 33 3 hours | Gas systems (K1.6 – K1.15) | K1.11 Gas and the combustion process. | - Activity: Knowledge check and case studies - Resource: - PowerPoint: K1.11 PPT 1.11b - Combustion Analysis and Trigger Values |
| 34 3 hours | Gas systems (K1.6 – K1.15) | K1.11 Gas and the combustion process. | - Activity: Knowledge check and case studies - Resource: - PowerPoint: K1.11 PPT 1.11c - Burners and Air Movement – Simplex, Duplex and Ventilation Devices |
| 35 3 hours | Gas systems (K1.6 – K1.15) | K1.11 Gas and the combustion process. | - Activity: Knowledge check and case studies - Resource: - PowerPoint: K1.11 PPT 1.11d - Gas Properties – CV, Heat Input, Flame Speed, Ignition Temperature |
| 36 3 hours | Gas systems (K1.6 – K1.15) | K1.11 Gas and the combustion process. | - Activities: Calculate the Wobbe number Case studies - Resource: - PowerPoint: K1.11 PPT 1.11e - Gas Behaviour – Flammability, Freezing, Density, Wobbe Number |
| 37 3 hours | Gas systems (K1.6 – K1.15) | K1.12 Mechanical heat ventilation recovery (MVHR). | - Activity: Group project: Design an MVHR system for a domestic property, including layout, components, and controls - Resource: - PowerPoint: K1.12 PPT 1.12 - Principles and Components of MVHR Systems |
| 38 3 hours | Gas systems (K1.6 – K1.15) | K1.13 Types of chimneys and chimney systems in relation to gas appliance types. | - Activities: Techniques for chimney inspection, common faults, and maintenance routines Methods to assess chimney performance, including gas flow and draft checks - Resource: - PowerPoint: K1.13 PPT 1.13 - Chimney Systems in Relation to Appliance Types |
| 39 3 hours | Gas systems (K1.6 – K1.15) | K1.14 Types of ventilation in relation to gas. | - Activity: Learners sort systems: natural, mechanical, assisted. Discuss locations used - Resource: - PowerPoint: K1.14 PPT 1.14a - Introduction to Ventilation in Gas Systems |
| 40 3 hours | Gas systems (K1.6 – K1.15) | K1.14 Types of ventilation in relation to gas. | - Activity: Tutor-led compound calculation activity using combined appliance loads; apply to domestic setting - Resource: - PowerPoint: K1.14 PPT 1.14b - Ventilation Calculation Methods |
| 41 3 hours | Gas systems (K1.6 – K1.15) | K1.14 Types of ventilation in relation to gas. | - Activities: Label diagrams showing grilles, ducting, fans. Define application for each Learners build a checklist based on visual inspection and airflow guidance - Resource: - PowerPoint: K1.14 PPT 1.14c - Applied Design, Installation and Inspection of Ventilation Systems |
| 42 3 hours | Gas systems (K1.6 – K1.15) | K1.15 Types of gas appliances and their system requirements. | - Activity: Overview of major appliance categories and safety considerations - Resource: - PowerPoint: K1.15 PPT 1.15a - Appliance Types and Functional Differences |
| 43 3 hours | Gas systems (K1.6 – K1.15) | K1.15 Types of gas appliances and their system requirements. | - Activity: Discuss functional principles and common faults - Resource: - PowerPoint: K1.15 PPT 1.15b - Appliance System Requirements |
| 44 3 hours | Gas engineering science (K1.16) | K1.16 Scientific principles and concepts as applied to gas engineering. | - Activity: Explain differences between complete and incomplete combustion - Resource: - PowerPoint: K1.16 PPT 1.16a - Introduction to Combustion Science |
| 45 3 hours | Gas engineering science (K1.16) | K1.16 Scientific principles and concepts as applied to gas engineering. | - Activity: Draw the combustion triangle with descriptions - Resource: - PowerPoint: K1.16 PPT 1.16b - Types of Combustion and Reactions |
| 46 3 hours | Gas engineering science (K1.16) | K1.16 Scientific principles and concepts as applied to gas engineering. | - Activity: Work on calculations with different Wobbe numbers - Resource: - PowerPoint: K1.16 PPT 1.16c - Properties of Fuels |
| 47 3 hours | Gas engineering science (K1.16) | K1.16 Scientific principles and concepts as applied to gas engineering. | - Activity: Calculate ventilation requirements for rooms and compartments - Resource: - PowerPoint: K1.16 PPT 1.16d - Air, Oxygen and Ventilation |
| 48 3 hours | Gas engineering science (K1.16) | K1.16 Scientific principles and concepts as applied to gas engineering. | - Activities: Explain the differences between different types of draughts Recall the flue flow test method - Resource: - PowerPoint: K1.16 PPT 1.16e - Flueing and Draught Principles |
| 49 3 hours | Gas engineering science (K1.16) | K1.16 Scientific principles and concepts as applied to gas engineering. | - Activity: Perform calculations based on Boyle’s Law and Charles’ Law - Resource: - PowerPoint: K1.16 PPT 1.16f - Applied Science in Gas Systems |
| 50 3 hours | Pipework technology (K1.17 – K1.19) | K1.17 Types of pipework | - Activities: Compare copper, steel, plastic. Discuss pros/cons in various environments. Design a mini pipe run with 3 joint types, correct fixings, spacing, and materials. Include rationale. - Resource: - PowerPoint: K1.17 PPT 1.17 - Types of Pipework |
| 51 3 hours | Pipework technology (K1.17 – K1.19) | K1.18 Flow rates and their relationship to pipework and system design. | - Activities: Discuss flow rate, demand units, and pressure loss Use gas appliance list to calculate total load and correct sizing path - Resource: - PowerPoint: K1.18 PPT 1.18 - Gas Flow, Pressure Drop and System Design |
| 52 3 hours | Pipework technology (K1.17 – K1.19) | K1.19 Different techniques for forming and bending pipework. | - Activity: Overview and demonstration of pipe materials and bending principles - Resource: - PowerPoint: K1.19 PPT 1.19 - Forming and Bending Pipework Techniques |
| 53 3 hours | Legislation and industry guidance (K1.20) | K1.20 Implications of legislation, standards and manufacturer’s instructions alongside additional guidance to employers and those working with gas systems. | - Activity: Overview of HASAWA, GSIUR, and key health and safety duties - Resource: - PowerPoint: K1.20 PPT 1.20a - Core Gas Legislation |
| 54 3 hours | Legislation and industry guidance (K1.20) | K1.20 Implications of legislation, standards and manufacturer’s instructions alongside additional guidance to employers and those working with gas systems. | - Activity: Overview of IGEM, BS 6891, and Building Regulations - Resource: - PowerPoint: K1.20 PPT 1.20b - British Standards and IGEM Guidance |
| 55 3 hours | Legislation and industry guidance (K1.20) | K1.20 Implications of legislation, standards and manufacturer’s instructions alongside additional guidance to employers and those working with gas systems. | - Activity: Locate relevant Gas Safe Technical Bulletins (TBs) - Resource: - PowerPoint: K1.20 PPT 1.20c - Technical Bulletins and Manufacturer Instructions |
| 56 3 hours | Legislation and industry guidance (K1.20) | K1.20 Implications of legislation, standards and manufacturer’s instructions alongside additional guidance to employers and those working with gas systems. | - Activity: Discussion on roles and responsibilities under legislation - Resource: - PowerPoint: K1.20 PPT 1.20d - Employer Responsibilities and Legal Consequences |
| 57 3 hours | Building technology (K1.21) | K1.21 Types of fixtures and suitability for different building fabrics. | - Activity: Identify solid, timber frame, block and stud construction - Resource: - PowerPoint: K1.21 PPT 1.21a Fixtures |
| 58 3 hours | Building technology (K1.21) | K1.21 Types of fixtures and suitability for different building fabrics. | - Activity: Match fixings and routes to building type - Resource: - PowerPoint: K1.21 PPT 1.21b Building Fabrics |
| 59 3 hours | System installation (K1.22) | K1.22 Connection techniques. | - Activities: Define stage inspections, pressure checks, flue flow check Checklist and responsibility matrix - Resource: - PowerPoint: K1.22 PPT 1.22 - Connection Techniques |
| 60 3 hours | System commissioning (K1.23 – K1.26) | K1.23 Inspection techniques and how they are applied in commissioning systems. | - Activities: Group research on key visual checks Analyse commissioning images - Resource: - PowerPoint: K1.23 PPT 1.23 - Visual Inspection Techniques for Commissioning |
| 61 3 hours | System commissioning (K1.23 – K1.26) | K1.24 Factors to inspect during commissioning, and how expected standards are defined. | - Activity: Group discussion and overview of commissioning process - Resource: - PowerPoint: K1.24 PPT 1.24a - Commissioning – Tests, Tools, and Compliance Checks |
| 62 3 hours | System commissioning (K1.23 – K1.26) | K1.24 Factors to inspect during commissioning, and how expected standards are defined. | - Activity: Risk assessments and hazard identification in commissioning - Resource: - PowerPoint: K1.24 PPT 1.24b - Interpreting Results and Taking Action During Commissioning |
| 63 3 hours | System commissioning (K1.23 – K1.26) | K1.25 Testing of installation. | - Activities: Define tightness testing and its importance Group discussion and video analysis - Resource: - PowerPoint: K1.25 PPT 1.25a - Tightness Testing |
| 64 3 hours | System commissioning (K1.23 – K1.26) | K1.25 Testing of installation. | - Activities: Discuss flue flow measurement techniques and safety checks Group activity on spillage signs, hazard identification, and mitigation steps - Resource: - PowerPoint: K1.25 PPT 1.25b - Flue flow and Spillage Tests |
| 65 3 hours | System commissioning (K1.23 – K1.26) | K1.26 Safe storage and supply of fuel source. | - Activities: Overview of commissioning steps, visual checks, and initial adjustments Complete handover packs, user guides, and legal documents Group role play handover - Resource: - PowerPoint: K1.26 PPT 1.26a - Natural Gas |
| 66 3 hours | System commissioning (K1.23 – K1.26) | K1.26 Safe storage and supply of fuel source. | - Activities: Specific procedures for LPG systems and safety checks Review LPG-specific handover forms and safety advice leaflets - Resource: - PowerPoint: K1.26 PPT 1.26b – LPG - Liquefied Petroleum Gas |
| 67 3 hours | System maintenance (K1.27 – K1.28) | K1.27 Cleaning of components without compromising the system and associated tools, equipment and materials. | - Activities: Overview of routine maintenance, safety, and documentation Group discussion: Common servicing tasks and fault identification Practical activity: Show learners different cleaning products and practice cleaning a range of common items in gas systems, such as heat exchangers, burners, flame devices, condensate systems, fan assemblies, flue systems, controls and valves. Also, different types of appliances as mentioned in PPT 1.27a Could split this into 2 sessions: ◦ Slides 1-66, group discussion and practical activity ◦ Practical activity and Slides 67- 77 - Resource: - PowerPoint: K1.27 PPT 1.27a - Cleaning Principles, Tools and System Integrity |
| 68 3 hours | System maintenance (K1.27 – K1.28) | K1.27 Cleaning of components without compromising the system and associated tools, equipment and materials. | - Activities: Recap of information in PowerPoint: K1.27 PPT 1.27a with Q&A to check understanding Discuss service scheduling, contract types, and customer communications Mock servicing scenario with fault finding, documentation, and safety checks - Resource: - PowerPoint: K1.27 PPT 1.27b - Appliance-Specific Cleaning Tasks and Post-Clean Checks |
| 69 3 hours | System maintenance (K1.27 – K1.28) | K1.28 Fault-finding techniques, their suitability for different situations and how they are applied in practice. | - Activities: Overview of diagnostic principles and common fault categories Group work on fault identification steps and record keeping Practical activity: Tutor to go through diagnostic process with learners, with examples of fault-finding in appliances/items given in the PowerPoint - Resource: - PowerPoint: K1.28 PPT 1.28a - Introduction to Fault-finding and the Diagnostic Process |
| 70 3 hours | System maintenance (K1.27 – K1.28) | K1.28 Fault-finding techniques, their suitability for different situations and how they are applied in practice. | - Activities: Identify electrical components and common faults Scenario-based quiz Practical activity: Tutor to go through diagnostic process with learners, with examples of fault-finding in electrical appliances/items given in the PowerPoint - Resource: - PowerPoint: K1.28 PPT 1.28b - Electrical Fault-Finding Using a Multimeter |
| 71 3 hours | System maintenance (K1.27 – K1.28) | K1.28 Fault-finding techniques, their suitability for different situations and how they are applied in practice. | - Activities: Recap of fault-finding process and common fault categories for gas appliances Scenario-based quiz Practical activity: Tutor to go through diagnostic process with learners, with examples of fault-finding in gas appliances/items given in the PowerPoint Practical activity: Learners to do burner pressure testing activity - Resource: - PowerPoint: K1.28 PPT 1.28c - Gas Pressure and Flow-Based Fault-Finding |
| 72 3 hours | System maintenance (K1.27 – K1.28) | K1.28 Fault-finding techniques, their suitability for different situations and how they are applied in practice. | - Activities: Recap diagnostic process and fault-finding techniques (as required) Case studies – these could also be turned into practical activities for learners to do - Resource: - PowerPoint: K1.28 PPT 1.28d - Practical Diagnosis, Planned Maintenance and Real-World Faults |
| 73 3 hours | Decommissioning (K1.29 – K1.30) | K1.29 Procedures involved in decommissioning. | - Activities: Discuss why decommissioning is necessary and plan steps Identify isolation points, lock-off methods, and safety protocols - Resource: - PowerPoint: K1.29 PPT 1.29a - Decommissioning Principles, Planning and Isolation |
| 74 3 hours | Decommissioning (K1.29 – K1.30) | K1.30 Requirements for recording, labelling and reporting decommissioned systems. | - Activities: Risk assessment for decommissioning tasks. Group risk matrix activity and mitigation planning Full decommissioning project plan: from isolation to documentation and safety checks - Resource: - PowerPoint: K1.30 PPT 1.30 – Decommissioning Recording and Labelling ​ |

Copyright in this document belongs to and is used under licence from the Department for Education, © 2025.

‘T-LEVELS’ and ‘T Level’ are registered trademarks of the Department for Education.

WJEC is authorised by the Department for Education to develop and deliver this T Level Technical Qualification.

WJEC operates in England under the name Eduqas which is a registered trademark of WJEC.