## Slide 1
Occupational Specialism: Gas Engineering
K1.20 Implications of legislation, standards and manufacturer’s instructions alongside additional guidance to employers and those working with gas systems
PowerPoint 1.20c: Technical Bulletins and Manufacturer Instructions

## Slide 2: Starter
Imagine you’re about to install a gas boiler. You find a conflict between:
The manufacturer's instructions
The British Standard (BS 6798)
Gas Safe technical bulletin
Building Regulations
Who do you follow – and why?

## Slide 3: Objectives
By the end of this session, you should be able to:
Locate relevant Gas Safe Technical Bulletins (TBs).
Understand how to follow manufacturer instructions accurately.
Analyse the risks of deviating from guidance.

## Slide 4: Gas Safe Technical Bulletins (TBs)
Technical Bulletins (TBs) are official industry guidance documents issued by the Gas Safe Register. They provide gas engineers in the UK with up-to-date information, clarifications, and best practice advice on specific topics related to gas safety, legislation, and installation standards.
They are a vital part of a gas engineer’s toolkit, helping ensure that work is carried out in line with current expectations, safely, and legally.

## Slide 5: Gas Safe Technical Bulletins (TBs)
Purpose of Technical Bulletins:
Clarify or interpret Gas Safety (Installation and Use) Regulations 1998 (GSIUR).
Update engineers on new industry procedures, changes to standards, or safety alerts.
Provide guidance on how to handle common or emerging safety issues.
Act as a link between legal duties and practical implementation.

## Slide 6: Gas Safe Technical Bulletins (TBs)
Key features of Technical Bulletins
Written specifically for registered Gas Safe engineers
Cover topics such as:
  Ventilation and flueing requirements
  Unsafe situations and classification (linked to GIUSP)
  Combustion analysis guidance
  Tightness testing and purging updates
  Appliance-specific installation guidance.

## Slide 7: Gas Safe Technical Bulletins (TBs)
Bulletin | Topic
TB 001 | Identifying and classifying unsafe situations (GIUSP)
TB 008 | Flueing for condensing boilers
TB 118 | Safe electrical isolation when working on gas appliances
TB 140 | Use of flexible connections on gas meters
TB 050 | Guidance on combustion analysis and flue gas testing
Examples of common Technical Bulletins

## Slide 8: Gas Safe Technical Bulletins (TBs)
Why they matter to gas engineers
Not law, but ignoring them can still lead to:
  Unsafe work
  Breach of GSIUR (especially Regulation 3 – competence)
  Gas Safe disciplinary action or removal from the register
They ensure that engineers stay current with:
  Manufacturer's updates
  Emerging risks (e.g. CO incidents)
  New legislation or guidance

## Slide 9: Gas Safe Technical Bulletins (TBs)
Technical Bulletins are essential updates from Gas Safe that help you apply gas laws and standards in real jobs.
You’re expected to read and follow them as part of being a competent, registered engineer.

## Slide 10: Manufacturer Instructions
Manufacturer’s instructions are official documents provided by the appliance or component manufacturer that detail how to install, commission, use, service, and maintain a specific gas product.
For gas engineers, these instructions are legally binding and form a critical part of working safely and compliantly under UK gas regulations.

## Slide 11: Manufacturer Instructions
Manufacturer’s instructions are vital for gas engineers because they ensure safe, compliant, and correct installation, servicing, and operation of gas appliances.
Ensure safety Following the instructions ensures:
Proper combustion and flueing
Correct ventilation
Safe operating pressures and temperatures
Prevention of carbon monoxide leaks or appliance malfunction.

## Slide 12: Manufacturer Instructions
Protects the engineer legally If an accident occurs and the engineer did not follow the manufacturer’s instructions, they can be held liable — even if no laws were technically broken.
Overrides standards (in some cases) Manufacturer's instructions take precedence over British Standards or IGEM guidelines if clearly stated in the law (such as in Regulation 26(9)).

## Slide 13: Manufacturer Instructions
Examples in practice
Boiler flue position: The instruction may require 300 mm clearance, even if the BS says 150 mm – you follow the manufacturer.
Gas cookers: Must be installed with an appropriate stability bracket as detailed in the manual.
Ventilation: Specific air vent sizes may be required depending on the kW rating of the appliance.

## Slide 14: Manufacturer Instructions
Manufacturer’s instructions are not just guidance – they’re part of your legal duty. Always read them, follow them, and keep a copy for your records.
They keep you safe, keep the customer safe, and protect your Gas Safe registration.

## Slide 15: Role in evidencing competence and defending liability
How a gas engineer evidences competence
Gas engineers in the UK evidence competence through accredited qualifications, practical assessments, and registration with the Gas Safe Register.
1. Accredited Qualifications and Training
Engineers must complete industry-recognised training.
2. Assessment of Competence
Competence is assessed through practical and written evaluations by a BS EN 17024-accredited Certification Body.

## Slide 16: Role in evidencing competence and defending liability
3. Gas Safe Register Certification
To legally work on gas appliances in the UK, engineers must be registered with the Gas Safe Register.
Registration requires:
Holding current, valid Certificates of Gas Safety Competence.
Demonstrating ongoing competence through periodic reassessment (usually every 5 years).
Complying with the Rules of Registration, including record-keeping and work notification during the probationary period.

## Slide 17: Role in evidencing competence and defending liability
4. Follow industry standards and regulations (e.g. GSIUR, IGEM guidance).
5. Keep records of work and CPD (Continuing Professional Development).
6. Demonstrate safe working practices and up-to-date knowledge during audits or inspections.

## Slide 18: Role in evidencing competence and defending liability
How a gas engineer defends liability
1. Following the Manufacturer’s Instructions
Regulation 26(9) of GSIUR states that all work must follow the MI.
If an incident occurs, the engineer can prove they followed the legally expected procedure.
Defence: “I followed the MI exactly, and here's the record of my settings, flue position, and commissioning results.”

## Slide 19: Role in evidencing competence and defending liability
2. Accurate and complete record keeping
Keeping thorough, accurate records shows the system was safe at handover.
Defence: “These are the readings and safety checks I recorded. The appliance met all the required standards at installation.”

## Slide 20: Role in evidencing competence and defending liability
3. Sticking to the scope of competence
Only carrying out work you are registered and trained to do.
Not altering or modifying appliances outside of certification.
Defence: “I worked within my Gas Safe registration scope and referred anything beyond that to the appropriate specialist.”

## Slide 21: Role in evidencing competence and defending liability
4. Photographic evidence
Taking before-and-after photos of work and settings helps defend decisions.
Defence: “Here’s the photo of the flue terminal showing clearances complied with Part J and MI.”

## Slide 22: Role in evidencing competence and defending liability
As a gas engineer, you defend yourself not with excuses, but with evidence.
Every time you follow instructions, record results, and work within your competency, you're protecting your client — and yourself.

## Slide 23: Summary
You should now be able to:
Locate relevant Gas Safe Technical Bulletins (TBs).
Understand how to follow manufacturer instructions accurately.
Analyse the risks of deviating from guidance.

## Slide 24
Any questions?
Copyright in this document belongs to and is used under licence from the Department for Education, © 2025.
‘T-LEVELS’ and ‘T Level’ are registered trademarks of the Department for Education.
WJEC is authorised by the Department for Education to develop and deliver this T Level Technical Qualification.
WJEC operates in England under the name Eduqas which is a registered trademark of WJEC.