Electrotechnical Engineering

# Sample scheme of work

This sample scheme of work covers classroom-based learning for the Occupational Specialism Electrotechnical Engineering. It is based on the PowerPoint sessions that have been developed. It does not cover every GLH for the qualification.

It is an example of a possible scheme of work and is based on theory and practical activities within a training centre. However, it can be amended to suit all learning facilities with the necessary adjustments to meet individual learners’ needs.

You can use the sample scheme of work as it is, adjust it or extract content to create a scheme of work to suit your delivery needs. It can also be adjusted by adding workshops to support learners who have/need additional learning time. Activity sessions have been allowed for in this scheme of work for classroom demonstrations, presentation of video material, guest lectures, revision or other learning activities at the tutor’s discretion.

It is important that tutors look for ways to build or embed Behaviours within periods of learning, as well as the Skills and Knowledge required by the qualification.

The scheme of work refers to PowerPoint presentations and tasks in the Skills Practice Workbook for Learners (in black bold) that are available in this package of resources for tutors to use with learners. Any other resources listed provide guidance for the tutor as to others they may produce. Delivery timings are given; however, these can be amended to suit the group.

Please clarify to learners that the tasks in the Learner workbook are designed to support their understanding of the content. They are not intended to reflect the final assessment.

Electrotechnical Engineering

Sample scheme of work

Course/qualification: T Level Technical Qualification in Building Services Engineering for Construction

Tutor’s name:

Number of sessions: 44                                           Venue:				Group:

Learning Outcome 1 – Content areas - Tools, equipment and materials (K1.1 – K1.2) - Electrical installation (K1.3 – K1.10) - System installation (K1.11 – K1.13) - System commissioning (K1.14 – K1.16) - System maintenance (K1.17 – K1.20) - System decommissioning (K1.21 – K1.22)

| Session | Knowledge criteria | Range and amplification | Activities and resources |
| --- | --- | --- | --- |
| 1 3 hours | Health and Safety | Workshop health and safety procedures Risk assessment Method statement | - Introduction to the OS. - Learners to complete Workbook Tasks 1, 2, 3 and 4 - Tutor to deliver answers or provide feedback and check understanding. - Tutor to recap and summarise key learning points Resources - Workbook Task 1, 2, 3 and 4 - Links to other relevant resources can go here e.g. video, articles etc. |
| 2 3 hours | K1.1 Tools and equipment used for installation K1.2 Operation and handling requirements | Tools required related to the requirements of the job specification – identification of the range of both general and specific tools required. Selection of the correct hand and power tools required to complete work activities associated with electrotechnical systems, taking into consideration the safe use of equipment and suitability of tools and equipment matched to the specific task. Hand tools: - rules - levels - gauges - plumb lines - cable cutters - screwdrivers - wire strippers - knives - files - wrenches - hammers - saws - data cabling crimps - insulation displacement tools - reamers. Power tools: - hammer drills - pillar drills - electric screwdrivers. Equipment: - testing/commissioning equipment - conduit benders - tray benders - bending springs - MI kit - stocks and dies. Techniques for the safe use of hand and power tools, referring to specific guidance for tools required to complete and undertake tasks on specific activities. Safety checks necessary before use and regular checks necessary to avoid damage, deterioration and hazards. | Activities - Tutor to deliver PowerPoint K1.1 Hand and Power Tools - Tutor to deliver PowerPoint K1.2 Hand and Power Tools Safe Use - Tutor to recap and summarise key learning points. Resources - PowerPoint K1.1 - PowerPoint K1.2 - Links to other relevant resources can go here e.g. video, articles etc. |
| 3 3 hours | K1.1 Tools and equipment used for installation K1.2 Operation and handling requirements | Tools required related to the requirements of the job specification – identification of the range of both general and specific tools required. Selection of the correct hand and power tools required to complete work activities associated with electrotechnical systems, taking into consideration the safe use of equipment and suitability of tools and equipment matched to the specific task. Hand tools: - rules - levels - gauges - plumb lines - cable cutters - screwdrivers - wire strippers - knives - files - wrenches - hammers - saws - data cabling crimps - insulation displacement tools - reamers. Power tools: - hammer drills - pillar drills - electric screwdrivers. Equipment: - testing/commissioning equipment - conduit benders - tray benders - bending springs - MI kit - stocks and dies. Techniques for the safe use of hand and power tools, referring to specific guidance for tools required to complete and undertake tasks on specific activities. Safety checks necessary before use and regular checks necessary to avoid damage, deterioration and hazards. | Activities - Learners to complete Workbook Tasks 5, 6, 7, 8 - Tutor to deliver answers or provide feedback and check understanding. - Tutor to recap and summarise key learning points Resources - Workbook Tasks 5, 6, 7, 8 - Links to other relevant resources can go here e.g. video, articles etc. |
| 4 3 hours | K1.3 Principles of electrical circuits and loads | How different circuit arrangements affect voltage and current behaviour. Control of loads by circuit arrangement and the reasons why particular circuit arrangements are selected. DC principles for series and parallel circuits. How temperature affects circuits as well as temperature induced by circuit conditions. Factors that affect voltage drop and the effects of voltage drop in terms of load behaviour and energy losses. How magnetism is induced, and the effects of magnetism. How different types of loads affect current and voltage including resistive, inductive, and capacitive loads. How power factor is induced and how it affects circuit properties, such as current, voltage, and power. Methods used to reduce the power factor. Circuits: - ring-final - radial - lighting - series - parallel - AC - DC - magnetic effect - temperature effect - voltage drop - single phase - three phase. Loads: - AC - DC - resistive - inductive - capacitive - power factor - true power - apparent power. | Activities Tutor to deliver PowerPoint K1.3 Principles of electrical circuits and loads - Tutor to recap and summarise key learning points Resources - PowerPoint K1.3 - Links to other relevant resources can go here e.g. video, articles etc. |
| 5 3 hours | K1.4 Assessment of general characteristics outlined in national standards | Assessing general characteristics of installations such as supply types, and earthing arrangements such as: - TT - TN-S - TN-C-S. How neutral current diversion can appear on earthing systems. Broken PEN protection. Determining maximum demands with application of diversity. How external influences affect installation design, selection and erection. Taking maintainability into account when designing and certificating installation work. Terms relating to renewable energy technologies: - prosumer installation - island mode - load curtailment - load shedding. The importance of fully isolating a property when systems such as solar PV or battery storage are fitted. | Activities - Tutor to deliver PowerPoint K1.4 Assessment of general characteristics outlined in national standards - Tutor to deliver answers and check understanding - Tutor to recap and summarise key learning points Resources - PowerPoint K1.4 - Links to other relevant resources can go here e.g. video, articles etc. |
| 6 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671, including how they are detailed in Parts 4-6 of the standard. Use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoint K1.5a Chapter 51 - Tutor to recap and summarise key learning points Resources - PowerPoint K1.5a - Links to other relevant resources can go here e.g. video, articles etc. |
| 7 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671 including how they are detailed in Parts 4-6 of the standard use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoint K1.5b Selection and erection of wiring systems - Tutor to recap and summarise key learning points Resources - PowerPoint K1.5b - Links to other relevant resources can go here, e.g. video, articles etc.. |
| 8 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671, including how they are detailed in Parts 4-6 of the standard. Use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoints K1.5c Chapter 54 and K1.5d Chapter 55 - Tutor to recap and summarise key learning points Resources - PowerPoints K1.5c and K1.5d - Links to other relevant resources can go here e.g. video, articles etc. |
| 9 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671 including how they are detailed in Parts 4-6 of the standard. Use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoint K1.5e Chapter 56 - Tutor to recap and summarise key learning points Resources - PowerPoint K1.5e - Links to other relevant resources can go here e.g. video, articles etc. |
| 10 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671 including how they are detailed in Parts 4-6 of the standard. Use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoints K1.5f Part 4 and K1.5g Cable rating - Tutor to recap and summarise key learning points Resources - PowerPoints K1.5f and K1.5g - Links to other relevant resources can go here e.g. video, articles etc. |
| 11 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671 including how they are detailed in Parts 4-6 of the standard. Use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoint K1.5h Fault protection - Tutor to recap and summarise key learning points Resources - PowerPoint K1.5h - Links to other relevant resources can go here e.g. video, articles etc. |
| 12 3 hours | K1.5 Application of the fundamental principles of national standards | Refer to the national standards and the requirements of the Electricity at Work Regulations, building regulations and BS 7671 for the design, installation, inspection and testing of electrical systems and equipment. Interpret and implement fundamental principles of BS 7671 including how they are detailed in Parts 4-6 of the standard. Use of information in the Appendices of BS 7671 and Guidance Notes to formulate installation design and protection, giving consideration to the fundamental principles. | Activities - Tutor to deliver PowerPoint K1.5i Part 6 - Tutor to recap and summarise key learning points Resources - PowerPoint K1.5i - Links to other relevant resources can go here e.g. video, articles etc. |
| 13 3 hours | K1.6 Special installations and locations specified in national standards | Refer to Part 7 of the latest edition of the requirements for electrical installation (BS 7671:2018+A3:2024 – Requirements for Electrical Installations, IET Wiring Regulations) and Institution of Engineering and Technology (IET) Guidance Notes 1–8 for information and support for electrotechnical activities within special locations as specified in the national standards. This includes identifying installations where specialist activities may be beyond the competency of non-specialist operatives. | Activities - Tutor to deliver PowerPoint K1.6 Special locations - Tutor to recap and summarise key learning points Resources - PowerPoint K1.6 - Links to other relevant resources can go here e.g. video, articles etc. |
| 14 3 hours | K1.7 Design concepts of installations specified in national standards | Refer to the latest edition of the requirements for electrical installation (BS 7671:2018 – Requirements for Electrical Installations, IET Wiring Regulations), on-site guides and IET Guidance Notes 1–8 for information and support for protection and safety within electrical installations as specified in the national standards. Interpret requirements and relate these to different circuit types and accessories that form typical electrical systems. Select the correct protection methods and devices for typical systems, including those required for protection, isolation control and switching. | Activities - Tutor to deliver PowerPoint K1.7a Design concepts and K1.7b Isolation and switching - Tutor to recap and summarise key learning points Resources - PowerPoint K1.7a and K1.7b - Links to other relevant resources can go here e.g. video, articles etc. |
| 15 3 hours | K1.8 Methods of selecting and installing wiring systems | How to ensure that electrical wiring systems are selected and installed in accordance with current legislation and industry practices, and are fit for purpose and safe to be put into service. Wiring systems may include armoured, insulated and sheathed cable types etc.. How different wiring is arranged to form common low and extra-low voltage circuits such as: - radial power - lighting - ring-final - auxiliary. | Activities - Tutor to deliver PowerPoint K1.8 Installing wiring systems - Tutor to recap and summarise key learning points Resources - PowerPoint K1.8 - Links to other relevant resources can go here e.g. video, articles etc. |
| 16 3 hours | K1.9 Methods of selecting and erecting electrical installation components | Consulting IET guidance documents in the installation of all electrical circuits and components, making sure that the installation meets the current legislation and industry practices. Factors that affect suitable circuits and components, including their protection and longevity. | Activities - Tutor to deliver PowerPoint K1.9 Selecting and erecting electrical installation components - Tutor to recap and summarise key learning points Resources - PowerPoint K1.9 - Links to other relevant resources can go here e.g. video, articles etc. |
| 17 3 hours | K1.10 Types of lighting and luminaire | How height and spacing of luminaires affect illumination values. Application of different lighting, lamp types and luminaires used for different effects including: - efficacy - energy efficiency - lumens - regulatory lux levels - colour rendering. | Activities - Tutor to deliver PowerPoint K1.10 Lighting types, lamp technology and illumination design - Tutor to recap and summarise key learning points Resources - PowerPoint K1.10 - Links to other relevant resources can go here e.g. video, articles etc. |
| 18 3 hours | K1.11 Methods of cable installation and wiring system supports | How to install cables and containment in line with current legislation and industry practices. Considerations when installing cables, such as building regulations, manufacturer’s instructions, IET guidance and British Standards. Cable installation and wiring system supports: - single and multicore thermoplastic cable - steel wire armoured (SWA) multicore armoured cable - mineral insulated copper cable (MICC) - fire performance (FP200); fire resistant cable - flexible cable - data cable Category (CAT5a/6) - cable tray - cable conduit (steel and Polyvinyl chloride PVC) - cable trunking - ladder racking - cable basket - cable cleats - clips - cable hangers. | Activities - Tutor to deliver PowerPoint K1.11 Containment - Learners to complete Workbook Tasks 9 and 10 - Tutor to deliver answers and check understanding Resources - PowerPoint K1.11 - Workbook Tasks 9 and 10 - Links to other relevant resources can go here e.g. video, articles etc. |
| 19 3 hours | K1.12 Methods of terminating cables K1.13 Methods of terminating and connecting conductors | Termination and securing of cable terminations detailed in the range in line with specification requirements and current industry standards/working methods. When securing terminations, consideration should be given to building regulations, manufacturer’s instructions and British Standards. Appropriate glands must be used to ensure security of cable types, and checks should be made to ensure termination glands are suitable for external influences and are secure: - cable glands - grips - clamps. Termination and securing of connections of conductors detailed in the range in line with specification requirements and current industry standards/working methods. When securing terminations/connections, consideration should be given to building regulations, manufacturer’s instructions and British Standards. Appropriate connections/terminations must be used to ensure security of connection/termination types and checks should be made to ensure termination/connections are suitable for external influences and are secure. Appropriate methods should be selected depending on the type of maintenance expected including access. Terminating and connecting: - screwed - crimped - compression - soldered - maintained - non-maintained - insulation displacement. | Activities - Tutor to deliver PowerPoint K1.12 - K1.13 Cable termination and conductor connection methods​ - Tutor to recap and summarise key learning points Resources - PowerPoint K1.12 - K1.13 - Links to other relevant resources can go here e.g. video, articles etc. |
| 20 3 hours | K1.12 Methods of terminating cables K1.13 Methods of terminating and connecting conductors | Termination and securing of cable terminations detailed in the range in line with specification requirements and current industry standards/working methods. When securing terminations consideration should be given to building regulations, manufacturer’s instructions and British Standards. Appropriate glands must be used to ensure security of cable types, and checks should be made to ensure termination glands are suitable for external influences and are secure: - cable glands - grips - clamps. Termination and securing of connections of conductors detailed in the range in line with specification requirements and current industry standards/working methods. When securing terminations/connections, consideration should be given to building regulations, manufacturer’s instructions and British Standards. Appropriate connections/terminations must be used to ensure security of connection/termination types and checks should be made to ensure termination/connections are suitable for external influences and are secure. Appropriate methods should be selected depending on the type of maintenance expected including access. Terminating and connecting: - screwed - crimped - compression - soldered - maintained - non-maintained - insulation displacement. | Activities - Learners to complete Workbook Tasks 11 and 12 - Tutor to deliver answers and check understanding Resources - Workbook Tasks 11 and 12 - Links to other relevant resources can go here e.g. video, articles etc. |
| 21 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 13 - Tutor to deliver answers and check understanding Resources - Workbook Task 13 - Links to other relevant resources can go here e.g. video, articles etc. |
| 22 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 14 - Tutor to deliver answers and check understanding Resources - Workbook Task 14 - Links to other relevant resources can go here e.g. video, articles etc. |
| 23 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 15 - Tutor to deliver answers and check understanding Resources - Workbook Task 15 - Links to other relevant resources can go here e.g. video, articles etc. |
| 24 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 16 - Tutor to deliver answers and check understanding Resources - Workbook Task 16 - Links to other relevant resources can go here e.g. video, articles etc. |
| 25 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 17 - Tutor to deliver answers and check understanding Resources - Workbook Task 17 - Links to other relevant resources can go here e.g. video, articles etc. |
| 26 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 18 - Tutor to deliver answers and check understanding Resources - Workbook Task 18 - Links to other relevant resources can go here e.g. video, articles etc. |
| 27 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 19 - Tutor to deliver answers and check understanding Resources - Workbook Task 19 - Links to other relevant resources can go here e.g. video, articles etc. |
| 28 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 20 - Tutor to deliver answers and check understanding Resources - Workbook Task 20 - Links to other relevant resources can go here e.g. video, articles etc. |
| 29 3 hours | Practical exercises | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 21 - Tutor to deliver answers and check understanding Resources - Workbook Task 21 - Links to other relevant resources can go here e.g. video, articles etc. |
| 30 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 22 - Tutor to deliver answers and check understanding Resources - Workbook Task 22 - Links to other relevant resources can go here e.g. video, articles etc. |
| 31 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 23 - Tutor to deliver answers and check understanding Resources - Workbook Task 23 - Links to other relevant resources can go here e.g. video, articles etc. |
| 32 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Tasks 24 and 25 - Tutor to deliver answers and check understanding Resources - Workbook Tasks 24 and 25 - Links to other relevant resources can go here e.g. video, articles etc. |
| 33 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Tasks 26 and 27 - Tutor to deliver answers and check understanding Resources - Workbook Tasks 26 and 27 - Links to other relevant resources can go here e.g. video, articles etc. |
| 34 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 28 - Tutor to deliver answers and check understanding Resources - Workbook Task 28 - Links to other relevant resources can go here e.g. video, articles etc. |
| 35 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 29 - Tutor to deliver answers and check understanding Resources - Workbook Task 29 - Links to other relevant resources can go here e.g. video, articles etc. |
| 36 3 hours | Practical exercises K1.11 Methods of cable installation and wiring system supports | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 30 - Tutor to deliver answers and check understanding Resources - Workbook Task 30 - Links to other relevant resources can go here e.g. video, articles etc. |
| 37 3 hours | Practical exercises K1.14 Inspections for initial verification of electrotechnical systems | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 31 - Tutor to deliver answers and check understanding Resources - Workbook Task 31 - Links to other relevant resources can go here e.g. video, articles etc. |
| 38 3 hours | Practical exercises K1.14 Inspections for initial verification of electrotechnical systems | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 32 - Tutor to deliver answers and check understanding Resources - Workbook Task 32 - Links to other relevant resources can go here e.g. video, articles etc. |
| 39 3 hours | Practical exercises | See the tutor guide for more detail. | Activities - Learners to complete Workbook Task 33 - Tutor to deliver answers and check understanding Resources - Workbook Task 33 - Links to other relevant resources can go here e.g. video, articles etc. |
| 40 3 hours | K1.14 Inspections for initial verification of electrotechnical systems | Standard procedures and processes to undertake inspections, including the items to be inspected when carrying out initial verification in accordance with BS 7671:2018+A3:2024 and IET Guidance Note 3. Consideration should also be given to providing the required information including operation and maintenance (O&M) manuals. | Activities - Tutor to deliver PowerPoint K1.14 Undertaking inspections - Tutor to recap and summarise key learning points Resources - PowerPoint K1.14 - Links to other relevant resources can go here e.g. video, articles etc. |
| 41 3 hours | K1.15 Testing for electrotechnical systems | Tests to be carried out on electrical installations in accordance with BS 7671:2018+A3:2024 and IET Guidance Note 3. Identify the appropriate instrument for each test to be carried out. Know why it is necessary for test results to comply with standard values. State the actions to be taken in the event of unsatisfactory results being obtained. Explain why certain testing is carried out in the sequence specified in BS 7671:2018+A3:2024 and IET Guidance Note 3. | Activities - Tutor to deliver PowerPoint K1.15a Continuity - Tutor to recap and summarise key learning points - Workbook Task 31 could be used again as additional practice Resources - PowerPoint K1.15a - Workbook Task 31 could be used again as additional practice - Links to other relevant resources can go here e.g. video, articles etc. |
| 42 3 hours | K1.15 Testing for electrotechnical systems | Tests to be carried out on electrical installations in accordance with BS 7671:2018+A3:2024 and IET Guidance Note 3. Identify the appropriate instrument for each test to be carried out. Know why it is necessary for test results to comply with standard values. State the actions to be taken in the event of unsatisfactory results being obtained. Explain why certain testing is carried out in the sequence specified in BS 7671:2018+A3:2024 and IET Guidance Note 3. | Activities - Tutor to deliver PowerPoint K1.15b Insulation resistance - Workbook Task 31 could be used again as additional practice - Tutor to recap and summarise key learning points Resources - PowerPoint K1.15b - Workbook Task 31 could be used again as additional practice - Links to other relevant resources can go here e.g. video, articles etc. |
| 43 3 hours | K1.15 Testing for electrotechnical systems | Tests to be carried out on electrical installations in accordance with BS 7671:2018+A3:2024 and IET Guidance Note 3. Identify the appropriate instrument for each test to be carried out. Know why it is necessary for test results to comply with standard values. State the actions to be taken in the event of unsatisfactory results being obtained. Explain why certain testing is carried out in the sequence specified in BS 7671:2018+A3:2024 and IET Guidance Note 3. | Activities - Tutor to deliver PowerPoint K1.15c Polarity and K1.15d RCD - Workbook Task 31 could be used again as additional practice - Tutor to recap and summarise key learning points Resources - PowerPoint K1.15c and K1.15d - Workbook Task 31 could be used again as additional practice - Links to other relevant resources can go here e.g. video, articles etc. |
| 44 3 hours | K1.15 Testing for electrotechnical systems | Tests to be carried out on electrical installations in accordance with BS 7671:2018+A3:2024 and IET Guidance Note 3. Identify the appropriate instrument for each test to be carried out. Know why it is necessary for test results to comply with standard values. State the actions to be taken in the event of unsatisfactory results being obtained. Explain why certain testing is carried out in the sequence specified in BS 7671:2018+A3:2024 and IET Guidance Note 3. | Activities - Tutor to deliver PowerPoint K1.15e Requirements - Workbook Task 31 could be used again as additional practice - Tutor to recap and summarise key learning points Resources - PowerPoint K1.15e - Workbook Task 31 could be used again as additional practice - Links to other relevant resources can go here e.g. video, articles etc. |
| 45 3 hours | K1.15 Testing for electrotechnical systems | Tests to be carried out on electrical installations in accordance with BS 7671:2018+A3:2024 and IET Guidance Note 3. Identify the appropriate instrument for each test to be carried out. Know why it is necessary for test results to comply with standard values. State the actions to be taken in the event of unsatisfactory results being obtained. Explain why certain testing is carried out in the sequence specified in BS 7671:2018+A3:2024 and IET Guidance Note 3. | Activities - Tutor to deliver PowerPoint K1.15f Safe isolation and K1.15g Verifying ADS - Workbook Task 31 could be used again as additional practice - Tutor to recap and summarise key learning points Resources - PowerPoint K1.15f and K1.15g - Workbook Task 31 could be used again as additional practice - Links to other relevant resources can go here e.g. video, articles etc. |
| 46 3 hours | K1.16 Equipment adjustments as required by installation standards to ensure correct function K1.17 Types of electrotechnical system maintenance | Standard procedures and processes to adjust and alter settings associated with electrical components in accordance with the manufacturer's requirements and the operating system instructions when carrying out the commissioning of the installation. To include the adjusting of settings as required (fan running times, overloads). Know how this information is recorded and conveyed to stakeholders during the handover process. Legal requirements relating to planned and preventative maintenance (PPM), responsibilities for undertaking maintenance re. gimes. Advantages and limitations of PPM and reactive maintenance. Requirements for completing documentation and updating O&M manuals. System maintenance: - PPM - reactive maintenance. | Activities - Tutor to deliver PowerPoints K1.16 Equipment adjustments and K1.17 Electrotechnical system maintenance - Tutor to recap and summarise key learning points Resources - PowerPoints K1.16 and K1.17 - Links to other relevant resources can go here e.g. video, articles etc. |
| 47 3 hours | K1.18 Fault-finding and rectification techniques | Safe working procedures following evaluation and application of appropriate and logical fault diagnosis methods and techniques. Diagnosis of electrical faults using engineering decisions and evaluation of symptoms and findings. Appropriate and efficient action/s that should be recommended to rectify faults. Fault-finding techniques: - identification of symptoms - collection and analysis of data - use of sources/types of information (circuit schedules, installation specifications, drawings/diagrams) - determining nature/characteristics of faults through discussion and questioning - checking and testing - analysis of results/information. Rectification techniques: - repair - replace - adjust. | Activities - Tutor to deliver PowerPoint K1.18 Fault finding - Tutor to recap and summarise key learning points Resources - PowerPoint K1.18 - Links to other relevant resources can go here e.g. video, articles etc. |
| 48 3 hours | K1.19 Maintenance requirements for different building types and locations K1.20 Maintenance of older systems and installations | Regulations concerning set systems to put in place in relation to different types of premises. Building types: - private - commercial - house in multiple occupation (HMO) - residential. Some types of buildings (hospitals, chemical plants, paint stores) are covered by specific, specialist regulations and control measures. | Activities - Tutor to deliver PowerPoints K1.19 and K1.20 - Tutor to recap and summarise key learning points Resources - PowerPoints K1.19 Maintenance requirements and K1.20 Older installations - Links to other relevant resources can go here e.g. video, articles etc. |
| 49 3 hours | K1.21 Ways of making systems safe to decommission K1.22 Methods of identifying potential issues before decommissioning systems | Isolating system from the supply source or outgoing service, turning off the electrical supply. Handling materials to protect their integrity and safety during decommissioning. Removing pre-installed components from electrical installations. Reconfiguring electrical installations during the decommissioning process. Categorising waste produced during the decommissioning process. Using construction materials to repair the building fabric after installation component removal. Methods include reviewing O&M manuals and consulting component data sheets and drawings. Benefits of devising a timely plan when decommissioning systems. | Activities - Tutor to deliver PowerPoints K1.21 Decommissioning and K1.22 Decommissioning issues - Tutor to recap and summarise key learning points Resources - PowerPoints K1.21 and K1.22 - Links to other relevant resources can go here e.g. video, articles etc. |

Copyright in this document belongs to and is used under licence from the Department for Education, © 2025.

‘T-LEVELS’ and ‘T Level’ are registered trademarks of the Department for Education.

WJEC is authorised by the Department for Education to develop and deliver this T Level Technical Qualification.

WJEC operates in England under the name Eduqas which is a registered trademark of WJEC